Instructions for Use of DNA/RNA Protectant

[Product Name]  DNA/RNA Protectant

[Function and Purpose]   It is used for the stabilization and preservation of clinically collected samples containing pathogenic microbial DNA/RNA, such as cells, tissues, blood, blood swabs, nasal swabs, digestive tract swabs, etc. It maintains the stability of DNA/RNA during long-term transportation and storage of samples. It is also widely applied to the long-term stabilization and preservation of DNA/RNA in cells, cell cultures and other microorganisms.

[Instructions for Use]   For swab samples, immerse the swab into a container filled with an appropriate amount of DNA/RNA protectant. For secretions, cells, cell cultures, bacteria and other samples, add an equal volume of DNA/RNA protectant. Tissue specimens shall be cut into pieces of 0.5 cm in size and completely immersed in 5 times the volume of DNA/RNA protectant for preservation.

[Storage and Shelf Life]   Store at 2~8℃, keep dry and away from light. The shelf life is 24 months.